* 1. **Knapp Connector Gigant**

Manufacturing of a main and secondary beam joint with Knapp connecting system

Gigant 120/40 to wood/wood as a connection. The connection is made select visibility in accordance with the manufacturer's instruction manual. Select if bearing loads occur

The GIGANT connecting system consists of two identical, 6 mm thick, galvanized sheet steel brackets. The system can optionally be combined with a 2 mm thick, stainless steel locking clip to withstand uplifting loads. The fastening is done using KNAPP CS-screws Ø 10. Optionally, the connecting system can also hot-dip galvanized for significantly higher corrosion resistance.

Quantity: …………………. Unit Price: ……………………… Total Price: …………..

**2.1 Structural connection with connecting systems**

Manufacturing of a choose the connection with Knapp connecting system

choose a connector size to wood/wood as a connection. The connection is made select visibility in accordance with the manufacturer's instruction manual. Select if bearing loads occur

Following technical drawing: Knapp Connector

Choose a connector size

The GIGANT connecting system consists of two identical, 6 mm thick, galvanized sheet steel brackets. The system can optionally be combined with a 2 mm thick, stainless steel locking clip to withstand uplifting loads. The fastening is done using NAPP CS-screws. Optionally, the connecting system can also hot-dip galvanized for significantly higher corrosion resistance.

Or equivalent.

Offered product:

Quantity: …………………. Unit Price: ……………………… Total Price: