* 1. **Knapp Connector RICON**

Manufacturing of choose the connection with Knapp connecting system

choose the dimension to materials as a connection. The connection is made select visibility in accordance with the manufacturer's instruction manual.

The RICON connecting system consists of two identical, 5 mm thick, galvanized RICON sheet steel plates, which optionally can be combined with one or, if necessary, two locking clips made of 2 mm thick stainless spring steel to withstand uplift loads against the insertion direction. The fastening is done using KNAPP CS-screws Ø 5 mm and Ø 8 mm.

Quantity: …………………. Unit Price: ……………………… Total Price: ……………………..

* 1. **Structural connection with connecting systems**

Manufacturing of main and secondary beam joint to materials as a connection. The connection is made select visibility in accordance with the manufacturer's instruction manual.

Base of planning:

Knapp Connector

Choose a connector size

The RICON connecting system consists of two identical, 5 mm thick, galvanized RICON sheet steel plates, which optionally can be combined with one or, if necessary, two locking clips made of 2 mm thick stainless spring steel to withstand uplift loads against the insertion direction. The fastening is done using KNAPP CS-screws Ø 5 mm and Ø 8 mm.

Or equivalent.

Offered product: ………………………………………………………………………….

Quantity: …………………. Unit Price: ……………………… Total Price: ……………………..